ABSTRACT

Background: Extracellular vesicle (EV)-enriched preparations from human urine and vesicle-like nanoparticles from honey are accessible matrices for biomolecular and nanobiology research, but direct cross-matrix characterization remains limited.

Methods: Urine from three healthy donors and three independent batches of wild forest honey were processed by differential centrifugation, 0.22 µm filtration, and ultracentrifugation at 100,000 × g. Preparations were characterized by dynamic light scattering (DLS), apparent zeta potential, Bradford total-protein assay, exploratory bead-based anti-human CD9/CD81 flow cytometry, and cryoelectron microscopy (cryo-EM).

Results: Urine preparations showed DLS Z-average values of 111.9-324.9 nm, whereas honey preparations showed 211.3-614.1 nm, indicating marked intensity-weighted heterogeneity. Apparent zeta potentials measured in high-conductivity phosphate-buffered saline were approximately +0.1 mV for urine and -3.0 to -1.6 mV for honey and were considered buffer-limited. Total protein concentrations were 187.7 µg/mL for urine and 181.6 µg/mL for honey. Anti-human CD81-positive bead events were 20.0% in urine and 0.3% in honey; the human assay is not validated for honey-derived particles. Cryo-EM demonstrated membrane-enclosed vesicular structures in both matrices.

Conclusion: The two preparations showed distinct physicochemical profiles and matrix-dependent analytical limitations. These findings provide a descriptive baseline and support the need for particle-number measurements, broader marker panels, and source-appropriate assays before biological or therapeutic inferences are made.

Keywords: Cryoelectron Microscopy; Extracellular Vesicles; Honey; Nanoparticles; Ultracentrifugation